## Shutdown Request
Updated 05/08/18
UCSF Facilities Utilities Shutdown Request
Please complete all the fields before submitting the form to the shutdown coordinator. If you require additional space, please attach a separate
sheet. If you have questions or need assistance or clarification filling out the form, contact Susan Yun at susan.yun@ucsf.edu or
(415) 502-3332. Please note that there are two tabs to fill out: Shutdown Request and the MOP.
Today's Date |  |  | Work Order # |  |  |  |  | Shutdown #
Shutdown Name
Project Name:
Project # : |  | Hot Work Permit # | [7 empty] | For Facilities Only :
If performing hot work
Shutdown/Utilities Requests:
Other:
Start Date of Shutdown:
|  | Day |  |  | Start Date |  |  |  | Start Time
End Date of Shutdown:
|  | Day |  |  | End Date |  |  |  | End Time
Location: List ALL Building(s), floors, rooms, corridors, areas. If applicable, provide ID of equipment, fans, panels, etc.
`
Provide reason for utilities shutdown, scope of work, and impacts.
Additional space for more info
1. Are prints for the project already approved by UCSF Fire Marshall?
2. Is a fire permit required?
3. If a fire permit is required, has it been approved and issued by UCSF Fire Marshall?
4. Do you have all of the materials and staffing on site to complete this procedure?
[Initials]
I understand that I am required to submit a shutdown request form with completed information at least (2) weeks prior to the shutdown start date and at least (6) weeks for shutdowns with larger impact (such as buss riser shutdowns). A sufficient amount of time is needed for Facilities personnel to investigate, plan, temp up power (if applicable), and communicate with occupants impacted by the shutdown. • Any inaccurate or incomplete information may cause delays to this request. • If you do not know the project # or recharge #, please ask your project manager. • Even if preliminary investigation for shutdowns with UCSF Facilities is needed – contractors are to submit a shutdown request as soon as possible with completed information. • Indicate actual shutdown start time when the utilities need to be shut-off (not when work procedure will start) • Please notify the shutdown coordinator for any changes [schedule, scope of work, etc]. If the scope of work or time schedule changes, please submit a revised MOP to reflect updated information. Any revised will be labeled with: Shutdown #, a hyphen, letter “R”, and revised # (Example:Shutdown # 50R1) • Advisory: Please contact Mission Bay Engineers/BMS Room at 415.514.4318 before and after the shutdown. Do not walk off the site until the shutdown is completed and MB Engineers are properly notified. • Contractors are not permitted to perform shutdown utilities (including 1-valve shutdowns). UCSF Facilities engineers/trades personnel only. A group lockout / tagout will be used to ensure that equipment is not energized without approval from both parties. • Fire Watch and submission of Fire Watch Log sheet is required if one of the following meet the conditions: a) Both the smoke detectors and fire sprinklers are disabled; b) If sprinkler shutdown to floor exceed (4) hours; c) if hot work is performed. Contractor's Access to Space: • For access to locked spaces i.e. electrical, mechanical & etc., and for Facilities Assistance, schedule through your Project Manager or Construction Manager. Do not contact Building Engineers or Trades directly. • Do not enter occupied spaces without permission of the occupant. Contractors are to secure electrical and mechanical rooms locked when they are not in use during lunchbreaks and off-hours.
Personnel Contact List
List all necessary contacts such as: Jobsite Authorizations, UCSF Facilities, Fire Watch, Project Managers, General Contractors
Subcontractors (foreman, wireman, etc), Back-up, Standby, Maintenance Personnel
UCSF Main Contact / Project Manager:
Phone Number: |  |  |  | Email Address:
Secondary Contact / Title:
Company's Name:
Phone Number: |  |  |  | Email Address:
Contact / Title:
Company's Name:
Phone Number: |  |  |  | Email Address:
Additional Contacts Full Name |  | Title and Description of Responsibility |  |  | Will be on-site | Company |  |  | Phone Number & Email Address
Mission Bay Campus Engineers |  | Facilities After-Hours |  |  |  | UCSF |  |  | 415.514.4318
UCSF Facilities |  | Facilities Dispatch Center |  |  |  | UCSF |  |  | 415.476.2021
Customer Service Center |  | M-F Days
MOP Required Tool List
Check box for each applicable item and list additional tools, necessary to perform the work, including:
power tools, equipment, and PPE. Add any tools used during the shutdown that are not on the MOP Required Tool List.
Description |  | Put "X" if | Description |  |  | Put "X" if | Description
|  | Applicable |  |  |  | Applicable
1. Basic Hand Tools |  |  | 11. Pipe Threader
2. Concrete Saw |  |  | 12. Power Drills
3. Electrical / Voltage Meter |  |  | 13. Scissor Lift
4. Fish Tape |  |  | 14. Torch (other)
5. Inductance Tester |  |  | 15. Radio / Walkie-Talkie
6. Jack Hammer |  |  | 16. Welding Machine
7. Ladder |  |  | 17. Wire Strippers
8. Megger
9. Oxy Acetylene Torch
10. Phase Rotation Meter
Safety Tools and Requirements / PPE
Check box for each applicable item and list additional safety tools and requirements that are determined by the
job hazard analysis such as LOTO, PPE, and fall protection.
Description |  | Put "X" if | Description |  |  | Put "X" if | Description
|  | Applicable |  |  |  | Applicable
1. Confined Space Permit |  |  | 11. Safety Glasses
2. Dust Control Walk-off Mat |  |  | 12. Blast arc shield
3. Fire Blanket |  |  | 13. Hot Permit
4. Fire Extinguisher
5. Fire Permit
6. Fire Watch
7. Flashlight
8. Gloves
9. Hard Hats
10. Lock-out / Tag out Kit
For Facilities Services' Use Only
Forwarded for investigation to:
Additional Notes / Impact:
Approved by Susan Yun | [5 empty] | Date:
Acid Waste
Building Automation System
Chilled Water
Condensate
Cold Tapping
DI Water / ROI System
Domestic Cold Water
Domestic Hot Water
Electrical Primary
Electrical Secondary
Emergency Power
Exhaust Fan
Eye wash / Emergency shower
Fire Alarm System
Fire Hose Reel
Fire Sprinklers
Fumehood
Gas
Heating Hot Water
Hot Tapping
Hot Work
Irrigation
Oxygen
Electrical - Work on energized system
Lab / Compressed Air
Permanent Shutdown
Steam - Low Pressure
Steam - Medium Pressure
Steam - High Pressure
Vacuum - Dry
Vacuum - Wet
May be contacted for complaints or questions
Will be on-site
Yes
No
Yes
Yes
No
No
No
N/A
May be contacted for complaints or questions
Will be on-site
General Contractor
Subcontractor
May be contacted for complaints or questions
Will be on-site
General Contractor
Subcontractor
N/A
Supply Fan
Local Shutdown
Building-Wide Shutdown
Yes

## MOP
UCSF MOP (Method of Procedure )
Step # | Detailed Description of Task | Action by: Name of Personnel & Company | Start Time | End time | Duration | Sign-off: Work Complete (Initials)
1 | Indicate Pre-Meeting Location:
2 | Call MB Engineers prior to starting shutdown at 415.514.4318
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30